## Arkusz1
v1.1
MacBAT 5 product code creator
GENERAL SETTINGS
Do not leave any field unchosen
|  |  |  | Approval: |  | Housing type:
|  |  |  | CHOOSE |  | CHOOSE
Pressure P1 primary sensor
|  |  |  | CHOOSE |  | CHOOSE | CHOOSE
|  |  |  | Temperature T sensor: |  | Steath type: | Cable length:
|  |  |  | CHOOSE |  | CHOOSE | CHOOSE
Pressure P2 secondary sensor
|  |  |  | CHOOSE |  | CHOOSE | CHOOSE
DEVICE HARDWARE |  |  |  | BASE CONDITIONS & METROLOGY
Variant type: |  | Transmission ports: |  | Pb pressure: |  | Tb temperature: | T1 temperature:
CHOOSE |  | CHOOSE |  | CHOOSE |  | CHOOSE | CHOOSE
Modem type: |  | Batteries amount: |  | Pressure unit: |  | Temperature unit: | Volume unit:
CHOOSE |  | CHOOSE |  | CHOOSE |  | CHOOSE | CHOOSE
NFC communication: |  |  |  | Calculation method - test: |  | Gas composition - test:
CHOOSE |  |  |  | AGA8-92DC |  | Gas3 - ISO 12213-2
|  |  |  | Calculation method - Customer choice: |  | Gas composition - Customer choice:
|  |  |  | CHOOSE |  | CHOOSE
LANGUAGE & DOCUMENTS |  |  |  | CONFIGURATION & ACCESSORIES
Device language: |  | Documents language: |  | Modbus map: |  | Mounting plate: | Pulse cable (no plug):
CHOOSE |  | CHOOSE |  | CHOOSE |  | CHOOSE | CHOOSE
This is a scheme, including many combinations which are technically not possible. If you change a selection, be sure to check all other selection boxes to see if previously chosen options are still available.
SUMMARY | [5 empty] | ADDITIONAL INFO
Device codename: | INVALID OR MISSING CHOICE - REVIEW YOUR CHOICES.
ORDER CAN NOT BE PROCEEDED
Additionals: | T cable sensor |  | Modbus map: |  | MISSING
MISSING
MISSING

## Arkusz2 (hidden)
Approval |  | Housing type | [6 empty] | DEVICE HARDWARE
CHOOSE |  | CHOOSE
MID |  | Polycarbonate | [5 empty] | Variant type |  |  |  | Transmission ports
no-MID |  | Aluminium | [5 empty] | CHOOSE |  |  |  | CHOOSE
[8 empty] | FULL - 8xDI/4xDO with SCR encoder |  |  |  | 2xRS485
[8 empty] | FULL - 8xDI/4xDO without SCR encoder |  |  |  | 1xRS232 1x RS485
P1 primary sensor |  |  | Sensor range |  | Cable length |  |  | BASIC - 4xDI/2xDO - no HF inputs
CHOOSE |  |  | CHOOSE | CHOOSE | CHOOSE
Internal M12x1,5 |  |  | 0,8-6 bar ABS | N/A | N/A for internal
External M12x1,5 |  |  | 2-10 bar ABS | N/A | N/A for internal
External NPT 1/4 |  |  | 4-20 bar ABS | N/A | N/A for internal |  |  | Modem type |  |  |  | Batteries amount
None - MacBAT 5 T |  |  | 7-35 bar ABS | N/A |  |  |  | CHOOSE |  |  |  | CHOOSE
|  |  | 10-70 bar ABS | N/A |  |  |  | None |  |  |  | No batteries
|  |  | 0,8-10 bar ABS | N/A |  |  |  | 3G/2G Europe/Asia |  |  |  | 1x EVC
|  |  | 4-70 bar ABS | N/A |  |  |  | 4G/3G/2G Europe/Asia |  |  |  | 1x EVC + 1x modem
|  |  | 10-100 bar ABS | N/A |  |  |  | 4G/3G/2G US/LATAM |  |  |  | 1x EVC + 2x modem
|  |  | 20-100 bar ABS | N/A |  |  |  | 3G/2G US/LATAM
|  |  | 0,5-12 bar ABS | N/A
NFC COMMUNICATION
Temperature sensor |  |  | Steath type |  | Cable length |  |  | CHOOSE
CHOOSE |  |  | CHOOSE |  | CHOOSE |  |  | YES
4-wires |  |  | L: 50mm, dia: 5,7mm |  | 2,5m - default
2-wires |  |  | L: 140mm, M20x1,5 |  | 5m
|  |  | L: 160mm, M20x1,5 |  | 10m
L: 180mm, M20x1,5
L: 140mm, 1/4NPT
L: 160mm, 1/4NPT
L: 180mm, 1/4NPT
|  |  | L: 50mm, 1/4NPT | [5 empty] | BASE CONDITIONS AND METROLOGY
L: 50mm, M20x1,5
[8 empty] | Pb pressure |  | Tb temperature |  | T1 temperature
P2 secondary sensor |  |  | Sensor range |  | Cable length |  |  | CHOOSE |  | CHOOSE |  | CHOOSE |  | CHOOSE
CHOOSE |  |  | CHOOSE |  | CHOOSE |  |  | 1,01325 bar |  | 0°C - 273,15°K |  | 0°C - 273,15°K |  | 0°C - 273,15°K
N/A |  |  | N/A |  | N/A |  |  | Other |  | 15°C - 288,15°K |  | 15°C - 288,15°K |  | 15°C - 288,15°K
Internal M12x1,5 |  |  | N/A |  | N/A |  |  |  |  | 20°C - 293,15°K |  | 20°C - 293,15°K |  | 20°C - 293,15°K
External M12x1,5 |  |  | N/A |  | N/A |  |  |  |  | 25°C - 298,15°K |  | 25°C - 298,15°K |  | 25°C - 298,15°K
External NPT 1/4 |  |  | N/A | [6 empty] | Other |  | Other |  | Other
N/A
N/A
|  |  | N/A |  |  |  |  | Pressure unit |  | Temperature unit |  | Volume unit
|  |  | N/A |  |  |  |  | CHOOSE |  | CHOOSE |  | CHOOSE
|  |  | N/A |  |  |  |  | bar |  | °C |  | m3
|  |  | N/A |  |  |  |  | kPa |  | °K |  | ft3
psi
LANGUAGE AND DOCUMENTA
[8 empty] | Algorithm for test |  |  | Gas composition for test
Device language |  |  | Documents language | [7 empty] | Gas3 - ISO 12213-2
CHOOSE |  |  | CHOOSE
PL |  |  | PL
EN |  |  | EN
ES |  |  | ES
DE |  |  | LT |  |  |  |  | Final algorithm |  |  | Final gas composition
PT |  |  | SK |  |  |  |  | CHOOSE |  |  | CHOOSE
FR |  |  | PT |  |  |  |  | SGERG-88 |  |  | Same as test
RU |  |  | FR |  |  |  |  | AGA8-92DC |  |  | Custom - simplified
|  |  | RU |  |  |  |  | AGA8-G2 |  |  | Custom - full
Other
Modbus map |  |  | Mounting plate |  | Pulse cable
CHOOSE |  |  | CHOOSE |  | CHOOSE
Default |  |  | YES |  | None
Customized |  |  | YES + 3-way valve |  | 2,5m, 4-wires, LF cable
|  |  | None |  | 5m, 4-wires, LF cable
10m, 4-wires, LF cable
Customized
A3- | BN | F | 0- | CN |  | 0- | 0 | 0- | ERROR | ERROR | 0 | 0 | K9- | L0- | ERROR | T1- | V1- | M1 | #REF! | N0 | N-ERROR | P-ERROR | S-ERROR